## Slide 1: CHM 5175: Part 2.5
Source
hn
Sample
Detector
Ken Hanson
MWF 9:00 – 9:50 am
Office Hours MWF 10:00-11:00
Fluorescence Spectroscopy

## Slide 2
First observed from quinine by Sir J. F. W. Herschel in 1845
Filter
Church Window
400nm SP filter
Quinine Solution
(tonic water)
Yellow glass of wine
400 nm LP filter
Fluorescence Spectroscopy
hn
Observe
Blue emission
Herschel concluded that “a species in the solution exert its peculiar power on the incident light and disperses the blue light.”

## Slide 3
Fluorescence Spectroscopy
Measuring the light given off by an electronically excited state.
Ground State
(S0)
Singlet Excited State (S1)
hn
Excitation
Emission
hn
Intersystem Crossing
Triplet Excited State (T1)
Emission
hn
Fluorescence
Phosphorescence

## Slide 4
Singlet Excited State (S1)
Emission
hn
Fluorescence
Spin allowed
Fast (ns)
Organic molecules
Fluorescence Spectroscopy
Triplet Excited State (T1)
Emission
hn
Phosphorescence
Spin “forbidden”
slow (ms to s)
Transition metal complexes

## Slide 5
Jablonski Diagram
Excitation
Internal Conversion
Fluorescence
Non-radiative decay
Intersystem Crossing
Phosphorescence
S0
S1
S2
Energy
T1
T2

## Slide 6
Energy
S0
S1
S2
1) Excitation
  -Very fast (< 10-15 s)
  -No structure change
2) Internal Conversion
-Fast (10-12 s)
-Structure change
3) Fluorescence
-”Slow” (10-9 s)
- No structure change
Fluorescence
Geometry
1
2
3

## Slide 7
Fluorescence
  Internal Conversion (1012 s-1)
  S2 Fluorescence (109 s-1)
Sprinter (7 m/s)
Snail (0.005 m/s)
S0
S1
n1
n2
n3
S2
n1
n2
n3
Absorption
Fluorescence
IC
Internal Conversion (sprinter) “always” wins!
Kasha’s Rule:
Emission predominantly occurs from the lowest excited state (S0 OR T1)

## Slide 8
Fluorescence
Kasha Laboratory Building
AKA Institute of Molecular Biophysics
1920-2013
Kasha’s Rule:
Emission predominantly occurs from the lowest excited state (S0 OR T1)

## Slide 9
Fluorescence
Eabsorption > Eemission
Emission is red-shifted (bathochromic) relative to absorption
Blue
Higher E
Red
Lower E
Absorption is blue-shifted (hypsochromic) relative to emission
Internal
Conversion
S0
S1
Kasha’s Rule:
Emission predominantly occurs from the lowest excited state (S0 OR T1)

## Slide 10
  Vibrational levels in the excited states and ground states are similar
  An absorption spectrum reflects the vibrational levels of the electronically excited state
  An emission spectrum reflects the vibrational levels of the electronic ground state
  Fluorescence emission spectrum is mirror image of absorption spectrum
S0
S1
v=0
v=1
v=2
v=3
v=4
v=5
v’=0
v’=1
v’=2
v’=3
v’=4
v’=5
Mirror Image Rule

## Slide 11
Mirror Image Rule
S0
S1
n1
n2
n3
n4
n1
n2
n3
n4

## Slide 12
fluorescein
ethidium bromide
Mirror Image Rule
Anthracene

## Slide 13
Stokes Shift
Internal
Conversion
S0
S1
Stokes Shift:
Difference in energy/wavelength between absorption max and emission max.
Sensitivity to local environment:
Solvent polarity
Temperature
Hydrogen bonding

## Slide 14
Solvent Dependence
Stokes Shift:
Difference in energy/wavelength between absorption max and emission max.
4-dimethylamino-4'-nitrostilbene (DNS)
Solvatochromism

## Slide 15
Solvatochromism

## Slide 16
Jablonski Diagram
Excitation
Internal Conversion
Fluorescence
Non-radiative decay
Intersystem Crossing
Phosphorescence
S0
S1
S2
Energy
T1
T2
Intersystem Crossing
Singlet Excited State (S1)
Triplet Excited State (T1)
Emission
hn
Ground State (S0)

## Slide 17
E
S0
S1
S2
1) Excitation
  -Very fast (10-15 s)
  -No structure change
2) Internal Conversion
-Fast (10-12 s)
-Structure change
3) Intersystem Crossing
-Fast (10-12 s)
-No Structure change
4) Phosphorescence
-”Slow” (10-6 s)
- No structure change
Geometry
1
3
T1
T2
2
Phosphorescence
2
4
2

## Slide 18
Emission
Fluorescence
Phosphorescence
Rates:
Lifetime:
Dl:
O2 sensitive:
Fast (10-9s-1) nanoseconds
<100 nm
no
Slow (10-6 – 0.1 s-1) >microseonds
>100 nm
Yes

## Slide 19
Fluorescence vs Phosphorescence
S0
S1
E
T1
S2
Excitation
(10-15 s)
Fluorescence
(10-9 s)
Phosphorescence
(10-6 s)
Internal Conversion
(10-12 s)
Intersystem Crossing
w/ Heavy atom (< 10-12 s)
w/o Heavy atom (> 10-9 s)

## Slide 20
Emissive Molecules
Fluorescent
Phosphorescent
[Ru(bpy)3]2+
Ir(ppy)3
PtOEP
C60
Rose Bengal
Anthracene + ICH3
Anthracene
Fluorescein
OEP
Perylene
Coumarin
BODIPY

## Slide 21
Fluorometer
Source
hn
Sample
Detector
Variables
Excitation Wavelength
Excitation Intensity
Emission Wavelength
Filters
Excitation
Emission
hn

## Slide 22
Fluorometer
1
2
2
4
3
Components
1) Light source
2) Monochrometer
3) Sample
4) Detector
5) Filters
6) Slits
7) Polarizers

## Slide 23
Fluorometer: Simple Diagram
PMT
Xenon Lamp
Excitation
Monochromator
Emission
Monochromator
Sample
Grating
Mirrors
Grating
Two light sources =
Two monochromators!
1 for excitation
1 for emission

## Slide 24
Fluorometer: Medium Diagram
Grating
Mirror
Mirror
Sample
Lens

## Slide 25
Mirror
Mirrors
Grating
Grating
Fluorometer: Hard Mode

## Slide 26
450 W Xe
V
300 nm blaze
1200 g/mm
V
V
r
exit slit
iris
slit
shutter
UV-VIS:
R928 = 250-850nm
500 nm blaze
1200 g/mm grating
NIR:
9170-75=950-1700 nm
1000 nm blaze
600 g/mm grating
Fluorometer: Hard Mode 2
polarizer

## Slide 27
Horiba JY Fluoromax-4
Horiba JY Fluoromax-4
CSL 116
Dr. Bert van de Burgt
MAC Lab
(Materials Characterization)

## Slide 28
Measuring Emission Spectra
PMT
Xenon Lamp
Excitation
Monochromator
Emission
Monochromator
Sample
Ex Grating
Em Grating
Procedure
1) White light source on
2) Shift excitation grating to desired wavelength (excitation wavelength)
3) Light enters sample chamber
4) Light Hits the Sample
5) Emission from the sample enters emission monochromator
6) Set emission grating
7) Detect emitted light at PMT
8) Raster emission grating
1
2
3
4
5
6
7
8

## Slide 29
Measuring Emission Spectra
Procedure
1) White light source on
2) Shift excitation grating to desired wavelength (excitation wavelength)
3) Light enters sample chamber
4) Light Hits the Sample
5) Emission from the sample enters emission monochromator
6) Set emission grating
7) Detect emitted light at PMT
8) Raster emission grating
Excitation at 450 nm
Emission from 550 – 900 nm
Absorption Spectrum
Emission Spectrum

## Slide 30
Excitation Spectrum
S0
S1
n1
n2
n3
S2
n1
n2
n3
Absorption
Fluorescence
IC
S3
n1
n2
n3
S1
S2
S3
Fluorescence emission spectrum is the same regardless of the excitation wavelength!

## Slide 31
Excitation Spectrum
S0
S1
n1
n2
n3
S2
n1
n2
n3
Absorption
Fluorescence
IC
S3
n1
n2
n3
Absorbance
Fluorescence emission spectrum is the same regardless of the excitation wavelength!
But intensity changes!

## Slide 32
Excitation Spectrum
Absorbance
Monitor emission (Fixed l)
Scan Through Excitation l

## Slide 33
Measuring Excitation Spectra
PMT
Xenon Lamp
Excitation
Monochromator
Emission
Monochromator
Sample
Ex Grating
Em Grating
Procedure
1) Shift emission grating to desired wavelength (monitor emission max)
2) Shift excitation grating to stating wavelength
3) Light source on
4) Light Hits the Sample
5) Emission from the sample enters emission monochromator
6) Detect emitted light at PMT
7) Raster excitation grating
3
2
4
5
1
6
7

## Slide 34
Excitation Spectrum
If emitting from a single species:
Excitation spectrum should match absorption spectrum!
Absorption Spectrum
Excitation Spectrum

## Slide 35
Fluorometer
1
2
2
4
3
Components
1) Light source
2) Monochrometer
3) Sample
4) Detector
5) Filters
6) Slits
7) Polarizers

## Slide 36
Samples
Solutions
Powders
Thin Films
Crystals

## Slide 37
Solution Fluorescence
Source
hn
Sample
Detector
Excitation
Emission
hn
Excitation
Beam
Top View
Emission
non-emitting molecules
filter effect
“self”-absorption

## Slide 38
Filter Effect
Anthracene
For Fluorescent Samples:
Absorbance < 1.0

## Slide 39
Solid Samples
Thin Films/Solids
Source
Sample
Detector
Ex: 380 nm
Real emission spectrum +
Second Order
Emission Spectrum

## Slide 40
Solid Samples
Thin Films/Solids
Ex: 380 nm
Real emission spectrum +
Second Order
Emission Spectrum
λ = 2d(sin θi + sin θr)
Source
Sample
Detector
2d
Detector at 760 nm sees 380 nm light!

## Slide 41
Filters

## Slide 42
Filters
Band Pass Filter

## Slide 43
Fluorometer
1
2
2
4
3
Components
1) Light source
2) Monochrometer
3) Sample
4) Detector
5) Filters
6) Slits
7) Polarizers

## Slide 44
Mirrors
Entrance Slit
Exit Slit
Fluorometer: Slits

## Slide 45
Fluorometer: Slits

## Slide 46
Slit widths
Wider Slits:
More light hitting sample
More emission
More light hitting the detector
More signal
Greater signal-to-noise
Entrance Slit
Exit Slit
But…resolution decreases!
Source
hn
Entrance Slit
Sample

## Slide 47
Slit widths
bandpass (nm) =
slit width (mm) x dispersion (nm mm-1)
for a 4.25 nm mm-1 grating
Source
hn
Entrance Slit
Sample
Small Slit
Large Slit

## Slide 48
Excitation Slit widths
Single Component:
Wider slit:
Larger bandwidth
Intensity increase
No emission spectra change
Absorbance

## Slide 49
Excitation Slit widths
Multi Component :
Wider slit:
Larger bandwidth
Intensity increase
Emission ratio changes (1:2)
-small slit less of dye 2
-large slits more of dye 2

## Slide 50
Emission Slit widths
Wider slit:
Larger bandwidth
More light hitting the detector
More signal
Lower Resolution
570 nm emission
Exit Slit
Sample
Detector
hn
Grating
summing 569-571 nm
(2.125 nm bandwidth)
Large Slit (2.0 mm)
summing 566-574 nm
(8.5 nm bandwidth)
Small Slit (0.5 mm)
doubled slits = intensity2
Nyquist Rule: scanning increment should be greater than 1/2 slit widths
Ex: For 8 nm bandwidth set emission acquisition to 4 nm per step.

## Slide 51
Emission Intensity
Emission Slit widths
Emission Intensity
Always report your slit widths (in nm)!

## Slide 52
Fluorometer
1
2
2
4
3
Components
1) Light source
2) Monochrometer
3) Sample
4) Detector
5) Filters
6) Slits
7) Polarizers

## Slide 53
Mirrors
Polarizer
Polarizer
Fluorometer: Polarizer

## Slide 54
Fluorescence Anisotropy
Absorption is polarized
Fluorescence is also polarized

## Slide 56
Absorption Probablity

## Slide 57
End View
Unpolarized
Light
Fluorescence Anisotropy
Detector

## Slide 58
End View
Unpolarized
Light
Fluorescence Anisotropy
Detector

## Slide 59
End View
Unpolarized
Light
Fluorescence Anisotropy
Detector
End View
Unpolarized
Light

## Slide 60
End View
Polarized
Light
Fluorescence Anisotropy
Polarizer
Detector

## Slide 61
Fluorescence Anisotropy
End View
Polarized
Light
Polarizer
Detector

## Slide 62
Fluorescence Anisotropy
Detector
End View
Slightly
Polarized
Light
End View
Polarized
Light
Polarizer
I||
I^

## Slide 63
Fluorescence Anisotropy
r = anisotropy factor
I|| and I^ are the intensities of the observed parallel and perpendicular components
I||
I^
Sample
Polarized Excitation
Detector

## Slide 64
r = anisotropy factor
I|| and I^ are the intensities of the observed parallel and perpendicular components
Fluorescence Anisotropy

## Slide 65
Monitor Binding

## Slide 66
Reaction Kinetics

## Slide 67
Other Sampling Accessories
Spatial Imaging
Integrating Sphere
Microplate Reader
Cryostat

## Slide 68
Potential Complications
With Sample
Solvent Impurities
  -run a blank
Raman Bands
Concentration to high
- A > 1
- Self-absorption
Scatter (2nd order or spikes)
With the Instrument
Stray light
Slit Widths
Signal/Noise

## Slide 69
Fluorescence Spectroscopy End
Any Questions?